## Supervisor
Library | Variable | Type | Supervisor | Supervisor VIs | Reactor | Reactor VIs | Balance of Plant | BoP VIs
RemoteVIVariables | Chat Connection | Boolean |  | Supervisor Log |  | Reactor, Reactor Log
| Core Error Msg | Boolean |  | Core, Brain
| DAQ Connection | Boolean
| DAQ Error Msg | Boolean
| Read Connection | Boolean |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| Server Connection | Boolean
| Server Status | Boolean |  | Main Server
| Spoof Enabled | Boolean |  | Supervisor Read Client
| Stop BoP Input Read | Boolean |  | Brain, BoP Input Read Client
| Stop BoP Model | Boolean |  | Brain, BoP Model Control
| Stop BoP Output Write | Boolean |  | Brain, BoP Output Client
| Stop Broadcasting | Boolean
| Stop Chat | Boolean
| Stop Reading | Boolean |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| VFD Error Msg | Boolean |  | Brain, VFD
| Write Connection | Boolean |  |  |  | Reactor, Reactor Write Client
Core_Variables | Core Error Out | Variant
| Desired Power | Single |  | Core, DAQ_OPC UA, Supervisor Read Client |  | Reactor, Reactor Write Client
| Exit Profile | Boolean |  | Core |  | Reactor, Reactor Write Client
| Input Power Profile Array | Array of Double |  | Core, Supervisor Read Client |  | Reactor, Reactor Write Client
| Loop Period | Int64 |  | Core
| Output Current 1 | Double |  | Core
| Output Current 2 | Double |  | Core
| Output Voltage 1 | Double |  | Core
| Output Voltage 2 | Double |  | Core
| Power Input Signal | Single |  | Core, DAQ_OPC UA, Supervisor Read Client
| Power Output | Single |  | Core, DAQ_OPC UA, Supervisor Read Client
| Power Output On | Boolean |  | Brain |  | Reactor, Reactor Write Client
| Profile Step | Int32 |  | Core
| Select Operation Mode | UInt16 |  | Core, Supervisor Read Client |  | Reactor, Reactor Write Client
| Shutdown | Boolean |  | Core, Brain
| VISA Out | Variant
DAQ_Variables | DAQ? | Boolean |  | DAQ_OPC UA, Brain
| Flow Data? | Boolean |  | DAQ_OPC UA |  | Reactor, Reactor Write Client
| PowersFreqs | Array of Single
| SysFlowRates | Array of Single |  | Supervisor Read Client
| SysFluidTemps | Array of Single |  | Supervisor Read Client
| SysSurfTemps | Array of Single |  | Supervisor Read Client
NPSVariables | FM-20 | Single |  | Supervisor Read Client
| FM-30 | Single |  | Supervisor Read Client
| FM-40 | Single |  | Supervisor Read Client
| FM-60 | Single |  | Supervisor Read Client
| AT-01 | Single |  | Supervisor Read Client
| AT-02 | Single |  | Supervisor Read Client
| BT-11 | Single |  | Supervisor Read Client
| BT-12 | Single |  | Supervisor Read Client
| BT-21 | Single |  | Supervisor Read Client
| BT-23 | Single |  | Supervisor Read Client
| BT-25 | Single |  | Supervisor Read Client
| BT-27 | Single |  | Supervisor Read Client
| BT-29 | Single |  | Supervisor Read Client
| BT-30 | Single |  | Supervisor Read Client
| BT-32 | Single |  | Supervisor Read Client
| BT-34 | Single |  | Supervisor Read Client
| BT-41 | Single |  | Supervisor Read Client
| BT-43 | Single |  | Supervisor Read Client
| BT-60 | Single |  | Supervisor Read Client
| BT-63 | Single |  | Supervisor Read Client
| BT-65 | Single |  | Supervisor Read Client
| BT-66 | Single |  | Supervisor Read Client
| CX-10-1 | Single |  | Supervisor Read Client
| CX-10-2 | Single |  | Supervisor Read Client
| CX-10-3 | Single |  | Supervisor Read Client
| CX-10-4 | Single |  | Supervisor Read Client
| CX-11-1 | Single |  | Supervisor Read Client
| CX-11-2 | Single |  | Supervisor Read Client
| CX-11-3 | Single |  | Supervisor Read Client
| CX-11-4 | Single |  | Supervisor Read Client
| ST-10 | Single |  | Supervisor Read Client
| ST-11 | Single |  | Supervisor Read Client
| ST-12-N | Single |  | Supervisor Read Client
| ST-12-SE | Single |  | Supervisor Read Client
| ST-12-SW | Single |  | Supervisor Read Client
| ST-13 | Single |  | Supervisor Read Client
| ST-14-E | Single |  | Supervisor Read Client
| ST-14-N | Single |  | Supervisor Read Client
| ST-14-S | Single |  | Supervisor Read Client
| ST-14-W | Single |  | Supervisor Read Client
| WT-10 | Single |  | Supervisor Read Client
| WT-13 | Single |  | Supervisor Read Client
| WT-20 | Single |  | Supervisor Read Client
| WT-22 | Single |  | Supervisor Read Client
| WT-24 | Single |  | Supervisor Read Client
| WT-26 | Single |  | Supervisor Read Client
| WT-28 | Single |  | Supervisor Read Client
| WT-31 | Single |  | Supervisor Read Client
| WT-33 | Single |  | Supervisor Read Client
| WT-35 | Single |  | Supervisor Read Client
| WT-40 | Single |  | Supervisor Read Client
| WT-42 | Single |  | Supervisor Read Client
| WT-61 | Single |  | Supervisor Read Client
| WT-62 | Single |  | Supervisor Read Client
| WT-64 | Single |  | Supervisor Read Client
| WT-67 | Single |  | Supervisor Read Client
| Time | Single |  | Supervisor Read Client
ResultCore_Variables | Core Error Out_R | Variant
| Desired Power_R | Single
| Exit Profile_R | Boolean |  | Supervisor Read Client
| Input Power Profile Array_R | Array of Double
| Loop Period_R | Int64 |  |  |  | Reactor
| Output Current 1_R | Double |  |  |  | Reactor
| Output Current 2_R | Double |  |  |  | Reactor
| Output Voltage 1_R | Double |  |  |  | Reactor
| Output Voltage 2_R | Double |  |  |  | Reactor
| Power Input Signal_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| Power Output On_R | Single |  | Core, Supervisor Read Client
| Power Output_R | Boolean |  | Overview, Supervisor Read Client |  | Reactor, Reactor Read Client
| Profile Step_R | Int32 |  |  |  | Reactor
| Select Operation Mode_R | UInt16
| Shutdown_R | Boolean
| VISA Out_R | Variant
ResultDAQ_Variables | DAQ?_R | Boolean
| Flow Data?_R | Boolean |  | Supervisor Read Client
| PowersFreqs_R | Array of Single
| SysFlowRates_R | Array of Single |  |  |  | Reactor, Reactor Read Client
| SysFluidTemps_R | Array of Single |  | Overview |  | Reactor, Reactor Read Client
| SysSurfTemps_R | Array of Single |  |  |  | Reactor, Reactor Read Client
ResultNPSVariables | FM-20_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| FM-30_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| FM-40_R | Single |  | BoP Model Control, Supervisor Read Client |  | Reactor, Reactor Read Client
| FM-60_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| AT-01_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| AT-02_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-11_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-12_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-21_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-23_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-25_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-27_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-29_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-30_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-32_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-34_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-41_R | Single |  | BoP Model Control, Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-43_R | Single |  | BoP Model Control, Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-60_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-63_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-65_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| BT-66_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| CX-10-1_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| CX-10-2_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| CX-10-3_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| CX-10-4_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| CX-11-1_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| CX-11-2_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| CX-11-3_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| CX-11-4_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| ST-10_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| ST-11_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| ST-12-N_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| ST-12-SE_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| ST-12-SW_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| ST-13_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| ST-14-E_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| ST-14-N_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| ST-14-S_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| ST-14-W_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-10_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-13_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-20_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-22_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-24_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-26_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-28_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-31_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-33_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-35_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-40_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-42_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-61_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-62_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-64_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| WT-67_R | Single |  | Supervisor Read Client |  | Reactor, Reactor Read Client
| Time_R | Single |  | Supervisor Read Client, Overview |  | Reactor, Reactor Read Client
ResultVFD_Variables | Activate CTAH_R | Boolean |  | VFD
| CTAH Frequency_R | Single |  | Overview |  | Reactor
| CTAH Operating Case_R | Int32
| CTAH Outlet Set-Point_R | Double
| Activate TCHX_R | Boolean |  | VFD
| TCHX Frequency_R | Single |  | Overview |  | Reactor
| TCHX Operating Case_R | Int32
| Activate Pump_R | Boolean |  | VFD
| Pump Frequency_R | Single |  | Overview |  | Reactor
| Pump Operating Case_R | Int32
| Pump Mass Flow Set-Point_R | Double
| GS1 Stop_R | Boolean
VFD_Variables | Activate CTAH | Boolean |  | Brain |  | Reactor, Reactor Write Client
| CTAH Frequency | Single |  | VFD, DAQ_OPC UA, Supervisor Read Client |  | Reactor, Reactor Write Client
| CTAH Operating Case | Int32 |  | VFD, Supervisor Read Client |  | Reactor, Reactor Write Client
| CTAH Outlet Set-Point | Double
| Activate TCHX | Boolean |  | Brain |  | Reactor, Reactor Write Client
| TCHX Frequency | Single |  | VFD, DAQ_OPC UA, Supervisor Read Client |  | Reactor, Reactor Write Client
| TCHX Operating Case | Int32 |  | VFD, Supervisor Read Client |  | Reactor, Reactor Write Client
| Activate Pump | Boolean |  | Brain |  | Reactor, Reactor Write Client
| Pump Frequency | Single |  | VFD, DAQ_OPC UA, Supervisor Read Client |  | Reactor, Reactor Write Client
| Pump Operating Case | Int32 |  | VFD, Supervisor Read Client |  | Reactor, Reactor Write Client
| Pump Mass Flow Set-Point | Double
| GS1 Stop | Boolean |  | Brain
BoPInputs | Air Flow Rate | Single |  | BoP Input Read Client, BoP Model Control
| Ambient Pressure | Single |  | BoP Input Read Client, BoP Model Control
| Ambient Temperature | Single |  | BoP Input Read Client, BoP Model Control, Overview
| CTAH 1 Heat Transfer Rate | Single |  | BoP Output Client, BoP Model Control
| CTAH 2 Heat Transfer Rate | Single |  | BoP Output Client, BoP Model Control
| HPT PR | Single |  | BoP Input Read Client, BoP Model Control
| LPT PR | Single |  | BoP Input Read Client, BoP Model Control
| NG Flow Rate | Single |  | BoP Input Read Client, BoP Model Control
| NG Pressure In | Single |  | BoP Input Read Client, BoP Model Control
| NG Temp In | Single |  | BoP Input Read Client, BoP Model Control
| Shaft RPM | Single |  | BoP Input Read Client, BoP Model Control
BoPOutputs | Compressor Work | Single |  | Overview
| Hdot Combustor Out | Single |  | BoP Output Client, BoP Model Control
| Hdot Compressor In | Single |  | BoP Output Client, BoP Model Control
| Hdot Compressor Out | Single |  | BoP Output Client, BoP Model Control
| Hdot HP CTAH Out | Single |  | BoP Output Client, BoP Model Control
| Hdot HPT Out | Single |  | BoP Output Client, BoP Model Control
| Hdot LP CTAH Out | Single |  | BoP Output Client, BoP Model Control
| Hdot LPT Out | Single |  | BoP Output Client, BoP Model Control
| HPT Work Out | Single |  | Overview
| LPT Work Out | Single |  | Overview
| mdot Combustor Out | Single |  | BoP Output Client, BoP Model Control
| mdot Compressor In | Single |  | BoP Output Client, BoP Model Control
| mdot Compressor Out | Single |  | BoP Output Client, BoP Model Control
| mdot HP CTAH Out | Single |  | BoP Output Client, BoP Model Control
| mdot HPT Out | Single |  | BoP Output Client, BoP Model Control
| mdot LP CTAH Out | Single |  | BoP Output Client, BoP Model Control
| mdot LPT Out | Single |  | BoP Output Client, BoP Model Control
| Press Combustor Out | Single |  | BoP Output Client, BoP Model Control
| Press Compressor In | Single |  | BoP Output Client, BoP Model Control
| Press HP CTAH Out | Single |  | BoP Output Client, BoP Model Control
| Press HPT Out | Single |  | BoP Output Client, BoP Model Control
| Press LP CTAH Out | Single |  | BoP Output Client, BoP Model Control
| Press LPT Out | Single |  | BoP Output Client, BoP Model Control
| Temp Combustor Out | Single |  | BoP Output Client, BoP Model Control
| Temp Compressor In | Single |  | BoP Output Client, BoP Model Control
| Temp Compressor Out | Single |  | BoP Output Client, BoP Model Control
| Temp HP CTAH Out | Single |  | BoP Output Client, BoP Model Control
| Temp HPT Out | Single |  | BoP Output Client, BoP Model Control
| Temp LP CTAH Out | Single |  | BoP Output Client, BoP Model Control
| Temp LPT Out | Single |  | BoP Output Client, BoP Model Control
Note on G102: Mission Control: These values don't come through the server yet